Annual Drinking Water Quality Report for 2008

Goldens Bridge Community Association, Inc.

Box 701, Goldens Bridge, NY 10526

(P.W.S. ID# NY5903428)

INTRODUCTION

To comply with State regulations, the Goldens Bridge Community Association, Inc. (GBCA) Water System annually issues a report (ADWQR) describing the quality of your drinking water. The purpose of this report is to raise your understanding of drinking water and awareness of the need to protect our drinking water sources. Last year, your tap water met all state drinking water health standards. We are proud to report that our system did not violate a maximum contaminant level or any other water quality standard. This ADWQR provides an overview of last year’s water quality. Included are details about where your water comes from, what it contains, and how it compares to State standards.

If you have any questions about this report or concerning your drinking water, please contact Ron Arnstein, Water Operator and Chairman of the Water Committee, 914-232-8260. We want you to be informed about your drinking water. If you want to learn more, please attend any of the meetings of the Water Committee. Information as to when meetings are held can be obtained from any member of the Water Committee. These include, in addition to Ron Arnstein,  Mera Eisen: 914-232-8172, Drew Orr 914-232-9684 and Dan Fast 914-232-5397. Ron Arnstein is available to discuss any drinking water issues with you in person.

WHERE DOES OUR WATER COME FROM ?

In general the sources of drinking water (both tap water and bottle water) include rivers, lakes, streams, ponds, reservoirs, springs and wells. As water travels  over the surface of the land or through the ground, it dissolves naturally occurring minerals and can pick up substances resulting from the presence of animals or from human activities. Contaminants that may be present in source water include: microbial contaminants; inorganic contaminants; pesticides and herbicides; organic chemical contaminants; and radioactive contaminants. In order to ensure that tap water is safe to drink, the State and the EPA prescribe regulations which limit the amount of certain contaminants in water provided by public water systems. The State Health Department’s and the FDA’s regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

Our water system serves approximately 250 people through approximately 65 service connections. Our water source is groundwater drawn from two wells drilled to depths in excess of 800 feet. The water is chlorinated prior to distribution by the injection of sodium hypochlorite at a level sufficient to maintain a chlorine residual at the furthest point in the distribution system from the pumping and distribution station.

SOURCEWATER SUSCEPTIBILITY TO CONTAMINANTS

The New York State Department of Health (NYSDOH) has completed a source water assessment for this system, based on available information. Possible and actual threats to this drinking water source were evaluated. The state source water assessment includes a susceptibility rating based upon the risk posed by each potential source of contamination and how easily contaminants can move through the subsurface to the wells. The susceptibility rating is an estimate of the potential for contamination of the source water; it does not mean that the water delivered to consumers is, or will become, contaminated. The presence of contaminants does not necessarily indicate that the water poses of health risk. See section “Are there contaminants in our drinking water?” for a list of the contaminants that have been detected. The source water assessments provide resource managers with additional information for protecting source water into the future.

As mentioned before, our water is derived from two (2) drilled wells. The source water assessment has rated these wells as having a medium-high susceptibility to microbial, industrial solvents and other industrial contaminants. These ratings are due primarily to the close proximity of permitted discharge facilities (industrial/-commercial facilities that discharge wastewater into the environment and are regulated by the state and/or federal government) to the wells and the associated industrial activity in the assessment area. In addition, one of our wells draws from an unconfined aquifer of unknown hydraulic conductivity and the other well draws from fractured bedrock and a lower permeability layer exists above the aquifer. Therefore diligent source protection measures are prudent. Please note that, while the source water assessment rates our wells as being susceptible to microbial, our water is disinfected to ensure that the finished water delivered into your home meets the New York State drinking water standards for microbial contamination.

County and State Health Department will use this information to direct future source water protection. These may include water quality monitoring, resource  management, planning and education programs.

A copy of the source water assessment has been filed with the Board of Directors of GBCA and another copy can be reviewed by contacting Ron Arnstein. There is currently an ongoing source water contamination review consisting of inspection of the well environs for contamination sources, including septic tank failures, leakage of liquids from automotive vehicles and improper disposal of contaminants.

ARE THERE CONTAMINANTS IN

OUR DRINKING WATER ?

As a community public water system, the NYState Part-5 regulations require that the GBCA undertake the following tests:

- Chlorine residuals 					– daily

- Microbiological 					– monthly

- Nitrate & Nitrite 					– annual

- HaloAcetic Acids and Trihalomethane 		– annual

- Principal Organic Chemicals (POC) 		– tri-annual

- Synthetic Organic Chemicals (SOC) 		– tri-annual

- Inorganic Chemicals 				– tri-annual

- Lead/Copper in designated houses			- tri-annual

While these tests include an overwhelming number of elements and compounds, we only report those that are actually detected even though they are below the maximum contamination levels (MCL) as specified by the NYState Health Department. The following table shows all detectable “Contaminants” in our drinking water:

| Table of Detected Contaminants |
| --- |
| Contaminant | Violation Yes/No | Date of Sample | Level Detected (Avg/Max) (Range) | Unit Measure-ment | MCLG | Regulatory Limit (MCL, TT or AL) | Likely Source of Contamination |

INORGANIC:

ARSENIC	NO	11/14/06	6.1	PPB	10PPB

CHLORIDE	NO	11/15/06	51.0	PPM	250PPM

SODIUM	NO	11/17/09	81.6	PPM	NO LIMIT

SULFATE	NO	11/16/06	32.6	PPM	250PPM

NITRATE	NO	11/16/06	1.51	PPM	10PPM

SELENIUM	NO	12/07/06	5.3	PPB	10PPB

IRON	NO	11/15/06	0.072	PPM	0.3PPM

HALOACETIC ACID:

MONOCHLOROACETIC   NO	08/20/08	0.0013	PPM

| Table of Detected Contaminants |
| --- |
| Contaminant | Violation Yes/No | Date of Sample | Level Detected (Avg/Max) (Range) | Unit Measure-ment | MCLG | Regulatory Limit (MCL, TT or AL) | Likely Source of Contamination |

HALOACETIC ACID Continued:

DICHLOROACETIC  NO		08/20/08	0.0016	PPM

TOTAL HA		NO		08/20/08	0.0029	PPM	0.06PM

TRIHALOMETANES:

TOTAL THM		NO		08/11/08	3.0	PPB	80PPB

CHLOROFORM	NO		08/11/08	1.6	PPB	Included above

BROMODICHLOROM NO		08/11/08	0.8	PPB	Included above

CHLORODIBROMM	NO		08/11/08	0.6	PPB	Included above

LEAD/COPPER (5 HOUSES TESTED):

LEAD 	NO		09/16/08	2.4	PPB	15 PPB  Detected in 1 house only

COPPER 	NO		09/16/08	0.163	PPM	15PPM  Detected in 3 houses only

0.121	PPM	15PPM

0.222	PPM	15PPM

PRINCIPAL ORGANIC CHEMICALS    (POC’s) 	NONE DETECTED

SYNTHETIC ORGANIC CHEMICALS   (SOC’s) 	NONE DETECTED

As you can see by the table, our system had no violations.  We have learned through our testing that some contaminants have been detected; however, these contaminants were detected below current federal drinking water requirements.  Although arsenic was detected below the MCL, it was detected at 6.1 PPB which is greater than one-half of the MCL. Therefore, we are required to present the following information on arsenic in drinking water:

“NYS and EPA have promulgated a drinking water arsenic standard of 10 parts per billion.  While your drinking water meets the standard for arsenic, it does contain low levels of arsenic.  The standard balances the current understanding of arsenic’s possible health effects against the costs of removing arsenic from drinking water.  EPA continues to research the health effect of low levels of arsenic, which is a mineral known to cause cancer in humans at high concentrations and is linked to other health effects such as skin damage and circulatory problems.”

It should be noted that all drinking water, including bottled drinking water, may be reasonably expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the EPA’s Safe Drinking Water Hotline (1-800-426-4791) or the Westchester County Health Department at 914-813-5000.

WHAT DOES THIS INFORMATION MEAN ?

During 2008, our system had no violations as to water quality. Because of the sensitivity of testing methods, some contaminants are usually detected; however, these contaminants were detected below the level allowed by the State.

While our system does not contain lead in an amount above an action level, we are providing as a public service the following information on lead in drinking water.

“Infants and young children are typically more vulnerable to lead in drinking 	water than the general population. It is possible that lead levels at your home 	may be higher than at other homes in the community as a result of materials 	used in your home’s plumbing. If you are concerned about elevated lead levels in 	your home’s water, you may wish to have your water tested and flush your tap 	for 30 seconds to 2 minutes before using tap water. Additional information is 	available fro the Safe Drinking Water Hotline (1-800-426-4791).”

IS OUR WATER SYSTEM MEETING OTHER

RULES THAT GOVERN OPERATIONS ?

We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not your drinking water meets health standards. During 2008 extensive sampling was done and the sampling showed that the drinking water was in compliance with applicable drinking water requirements.

DO I NEED TO TAKE SPECIAL PRECAUTIONS ?

Although our drinking water met or exceeded state and federal regulations, some people may be more vulnerable to disease causing microorganisms or pathogens in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice from their health care provider about their drinking water. EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium, Giardia and other microbial pathogens are available from the Safe Drinking Water Hotline (1-800-426-4791).

WHY SAVE WATER AND HOW TO AVOID WASTING IT ?

Although our system has an adequate amount of water to meet present and future demands, there are a number of reasons why it is important to conserve water:

- Saving water saves energy and some of the costs associated with both of these necessities of life;

- Saving water reduces the cost of energy required to pump water and the need to construct costly new wells, pumping systems and water towers; and

- Saving water lessens the strain on the water system during a dry spell or drought, helping to avoid severe water use restrictions to that essential fire fighting needs are met.

You can play a role in conserving water by becoming conscious of the amount of water your household is using, and by looking for ways to use less whenever you can. It is not hard to conserve water. Conservation tips include:

- Automatic dishwaters use 15 gallons for every cycle, regardless of how many dishes are loaded. So get a run for your money and load it to capacity.

- Turn off the tap when brushing your teeth.

- Check every faucet in your home for leaks. Just a slow drip can waste 15 to 20 gallons a day. Fix it up and you can save almost 6,000 gallons per year.

- Check your toilets for leaks by putting a few drops of food coloring in the in the tank, watch for a few minutes to see if the color shows up in the bowl. It is not uncommon to lose up to 100 gallons a day from one of these otherwise invisible toilet leaks. Fix it and you save more than 30,000 gallons a year.

CLOSING

Thank you for allowing us to continue to provide your family with quality drinking water. In order to maintain a safe and dependable water supply we sometimes need to make improvements that will benefit all of our customers. The costs of these improvements may be reflected in the rate structure. Rate adjustments may be necessary in order to address these improvements. We ask that all our customers help us protect our water sources, which are the heart of our community.

The GBCA Water Committee

Ronald Arnstein,

Cert.# NY0030719

June 2009 RA/ja